## Dissection Hall & Physiology
Dissection Hall, Physiology and Teaching Pharmacy
Dissection Hall
S.No | Essential Equipment and Instruments | Count/Availability of Instruments/Equipments
1 | Tank with a capacity to preserve 2 to 4 bodies | Available
2 | Dissection Tables Sets | 15
3 | Dissecting Table-Full size with steel top or marble top stainless | 6
4 | Dissecting Table-Half size with steel top or marble top stainless | 8
5 | Bone cutter of the number 3/4, 1/2, 1/4, 1/8 - fine pointed Chisel bone dissector | Available
6 | Bucket and Mug | Available
7 | Gloves powder | Available
8 | Surgical gloves | Available
9 | Surgical Blade | Available
10 | Soap | Available
11 | Disposable syrings - 20cc, 10cc, 5cc | Available
12 | Towels | Available
13 | Dustbin | Available
14 | Stools preferably of metal | Available
15 | Wash basin | Available
16 | Machines for bones and brain sectioning | Available
17 | Over Head Projector | 1
18 | X-ray viewing box or panels | 3
19 | Glass jars of different sizes | Available
Reagents
S.No | Reagents/Liquids/Others | Availability
1 | Preservative Chemicals | Available
PHYSIOLOGY (KRIYA SHARIR) LABORATORY
S.No | Essential Equipment and Instruments | Count/Availability of Instruments/Equipments
1 | Microscopes with oil immersion | 30
2 | Westergren's pipette for ESR | 60
3 | Haematocrit Tube | 60
4 | Sahli's Haemoglobinometer | 30
5 | Haemocytometer | 60
6 | Sphygmomanometer | 30
7 | Stethoscope | 60
8 | Clinical Thermometer | 60
9 | Knee Hammer | 60
10 | Tuning forks | 60
11 | Electrocardiograph | 1
12 | Stop watches | 60
13 | Water Distillation still | 1
14 | Balances | 1
15 | Cover slips, glassware, Microslides | Available
16 | Centrifuge with speed control | 3
17 | Colorimeter (Photoelectric) | 3
18 | pH Meter (Electric) | 1
19 | pH Comparator with disc in a batch | 1
20 | Refrigerator | 1
21 | Newton's colour wheel in a batch | 1
22 | Spirometer | 1
23 | Tonometer | 1
24 | Hydrometer | 1
25 | Viscometer | 1
26 | Osmometer | 1
27 | Sterilizer | 5